## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Old Customs House ( Flat 22 )
Borough Road
North Sheilds
NE29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27793
DATE OF REPORT: 14/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Old Customs House ( Flat 22 )
Borough Road
North Sheilds
NE29 6LH
Carried Out On | 14/02/2023
Survey Completed By | Chris Coffer
SECTION 2: Introduction
bedroom sitting room kitchen and bathroom TRV's have come off over the years. tenant has been using pliers to adjust them but been in hosp and now unable to bend to do this. heating not very hot from all rads apart from hall so staying in bedroom as that's the warmest

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
SECTION 3: Report
Engineer Initial - Chris Coffer Date of attendance - 14/02/2023 Works carried out - replaced 4 x Pegler Belmont lock Shield Valves and 2 x Drayton TVR 4 heads Materials 4x Pegler Belmont lock shield valves, 2 x Drayton TVR 4 Heads Merchant location used - Crossling, Coast Toad Material Type and Quantity Used - Reference Number Used in branch - Van stock items Type of item - Quantity of item - FoW Follow on works required ( Y/N ) Materials required for FoW - Fabrics / Patching Required -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes