## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
69 Burnhopeside Avenue
Lanchester
Durham
DH7 0NF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27829
DATE OF REPORT: 24/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 69 Burnhopeside Avenue
Lanchester
Durham
DH7 0NF
Carried Out On | 24/02/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Tenant having issues with hot water, may be issues with stop tap please investigate - rearrange pressure valve

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
SECTION 3: Report
When arriving on site, run, hot water and cold water taps in the upstairs bathroom to find that hot water was just dribbling out. After this fitted pressure reducing valve under boiler and set to 1 1/2 at after this field system, back up and tested. Found that running hot and cold taps. No hot tap was good pressure and so was cold. Tried bath taps which talent had previously complained about, and this was running at 55° at a decent Flow rate.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27829
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes