## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eccles Grange ( Flat 25 )
Church Road
Backworth
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-28146
DATE OF REPORT: 28/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eccles Grange ( Flat 25 )
Church Road
Backworth
NE27 0FW
Carried Out On | 24/02/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating to flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
SECTION 3: Report
When attending site radiators in flat work or not heating up apart from bathroom. Attached hose to top of road in bedroom and ran. Let this run for about 10 minutes and he started to come through the rad after this took the hose off attach the valve back on and Rad was still staying hot. Next moved onto the living room radiator Which would not get hot at all when running on the hose is attached. Then tried to push it round by leaving one Lock Shiel open and the rest not but this would not work. After speaking to DH on the phone, said that GP would attend the next day and for us to be left for tenant.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes