## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-28149
DATE OF REPORT: 24/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close
Fellside Park
Whickham
NE16 4HU
Carried Out On | 24/02/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Standard Callout for Commerical Boilers - No hot water or heating. Mr Payne reports from Flat 23 that there is no hot water and heating in the block - the hairdresser is in and she has no hot water and none of his neighbours do either please can you attend on a P1 Please contact Wellbeing and Compliance Assistant Jane Bowron on 07786843710. Access Door entry 1978 - 2950 contains officer keys for boiler house gas house and electric cupboard are in 3rd kitchen cupboard in a plastic bowl.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
SECTION 3: Report
Attended site to find that all three boilers were in fault, after resetting the boilers boiler two and three were not firing a boiler. One was switchboard boilers of a few spare and left. Will check all three boilers were in fault, after resetting the boilers boiler two and three we’re not firing a boiler. One was switch both boilers of a few spare and left walls checked the building for heat coming through the radiators which it was. Then went back to the fuse spurs on, And boilers would still not fire. Sufficient heat in the building with one boiler running.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes