## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
78 Derwent Crescent
Hamsterly Colliery
NE17 7PE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-28151
DATE OF REPORT: 27/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 78 Derwent Crescent
Hamsterly Colliery
NE17 7PE
Carried Out On | 24/02/2023
Survey Completed By | Paul Clifford
SECTION 2: Introduction
SOR Description Units SMV S0001 Domestic Gas - Standard Callout 1 60

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
SECTION 3: Report
PC - 24.02.2023 Carries out tightness test. Had boiler in high and low service mode. Water and radiators all started heating up. Tenant think it may have something to do with gas works outside her house. Boiler working as it should.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes