## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Pankhurst Place
Stanley
County Durham
DH9 6XH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-28164
DATE OF REPORT: 27/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 Pankhurst Place
Stanley
County Durham
DH9 6XH
Carried Out On | 25/02/2023
Survey Completed By | Jason White
SECTION 2: Introduction
SOR Description Units SMV CODETECT CO Detector Service 1 2 GSBOIL Domestic Gas Boiler Service 1 45 SMOKDET Smoke Alarm Service 1 2 SMOKDET Smoke Alarm Service 1 2

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
SECTION 3: Report
Jw 25-2-24 Boiler will not light following a power cut boiler operates but dose not light dose not go in to fault getting 240 at leads pcb replacement Heater left with tenant

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes