## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville Grange
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-28199
DATE OF REPORT: 29/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carville Grange
Carville Road
Wallsend
NE28 6DX
Carried Out On | 27/02/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly PPM

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
SECTION 3: Report
3 x Hamworthy fleet f125v boilers. 1= operational 2= operational 3= operational 2 x Hamworthy = 1 operational, 2 operational. 1 x Hamworthy chessil pressurisation unit = operational 1 x LPHW expansion vessel = operational @ 1.5 bar 2 x MCWS expansion vessels = operational @ 3.5 bar Water analysis taken and awaiting test results serial number of tests is PPC210986646 Gauges = operational Lagging = good PRV,S = good Flue = good , does have 1 leaking seal 3 x Schneider actuators = operational 2 x Grundfos magna 3D 32-80 pumps zone 1.= 1 operational 0.7amps. 2 = operational 0.7 amps 2 x Grundfos magna 3D 32/80 pumps zone 2. 1= operational 0.7 amps. 2 = operational 0.7amps 1 x Grundfos magna 3 26-60 sec ret pump = operational but does have signs of being leaking on connections. 0.3 amps 2 x biral de strat pumps. 1= operational 0.3 amps. 2= operational 0.3amps Gas interlock = operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes