## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Renwick House ( Flat 12 )
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-28499
DATE OF REPORT: 12/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Renwick House ( Flat 12 )
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 12/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
around 10-11pm nightly she is experiencing loud noises that stop her sleeping coming from the wall beside her bed. The wall is adjacent to the bin store. I cannot see anything that could be causing the noise.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
SECTION 3: Report
Ct 12-4-23 Tenant reporting noise thinks it sounds like something energising. I have checked radiator that is behind bed. It is always off how ever I have turned on and off to make sure valve isn’t jumping or banging if opening and closing. No noise when turning on or off. Only possible I have seen is that the head rest of the bed is up against casing of radiator. I have slide her bed forward an inch to make sure it’s not the head board banging against casing. Other than that there is nothing in the plumbing side I can see causing these noises.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28499
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes