## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 West Crescent
Middlesborough
TS5 4HP
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 23-28600
DATE OF REPORT: 10/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 7 West Crescent
Middlesborough
TS5 4HP
Carried Out On | 09/03/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Full Heating Survey

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -landing 03/17 Downstairs Smoke Alarm Location & Date - hall.01/26 Heat Alarm Location & Date -none Co Alarm Location & Date - kitchen 03/27 Co Alarm Replaced - Yes/No no Boiler to be removed -yes Boiler Serial number – awa061640569ab Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location - kitchen Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE. Horizontal Any access requirements to access flue - no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –internal Condensate - yes Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - no If no what needs to be amended to bring it up to regs ? Needs upgraded to 32mm Is the condensate currently through the wall in 19 or 32mm ?19 Number of radiators -8 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower - yes Any other means of heating -no Current Cooker Type – Electric / Gas. None Current Fire Type – Electric / Gas.electric Room Sizes Width x Length x Height + window height and width Living Room - 4mx5mx2.7m Window - 2.4mx1.6m 4709 BTU Kitchen - 2.3mx4.6mx2.7m Window - 1.9mx1.3m 2172 BTU Hallway -1.7mx1.7mx2.7m Window - 500mmx770mm Door 900mmx2.16m 835 BTU Landing -0.8mx1.8mx2.4 Window - none 251 BTU Bedroom 1 -2.5mx3.1mx2.4m Window 930mmx1.1m 1000 BTU Bedroom 2 -3.5mx4.1mx2.4m Window - 1.9mx1.1m 1285 BTU Bedroom 3 - 2.3mx3.5mx2.4m Window - 1.8mx1.2m 1000 BTU Bathroom -2.3mx2.5mx2.4m Window - 960mmx790mm 1489 BTU Downstairs Bathroom -2mx2.2mx2.3m Window 860mmx1m 1432 BTU Current rad Sizes - Living Room - - Droppers Y / N- n 1530x530 Kitchen - - Droppers Y / N. -n. 1360x700 Hallway - - Droppers Y / N -n 400x700 Landing - - Droppers Y / N no rad Bedroom 1 - - Droppers Y / N -n. 950x400 Bedroom 2 - - Droppers Y / N. -n 1460x400 Bedroom 3 - - Droppers Y / N -n 1460x400 Bathroom - - Droppers Y / N -n 650x530 Downstairs Bathroom - - Droppers Y / N n 540x530

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes