## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court ( Flat 5 )
Little Bedford Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-28641
DATE OF REPORT: 13/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court ( Flat 5 )
Little Bedford Street
North Shields
NE29 6PD
Carried Out On | 10/03/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Tenant reports no hot water to taps, Issue has been consistent for months

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
SECTION 3: Report
PN 10/03/23 Flat 5 water takes about 3 mins to get to flat when running told tenant to run tap for a while to get hot water

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes