## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Front Street
Cullercoats
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-28737
DATE OF REPORT: 29/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Victoria Court
Front Street
Cullercoats
NE30 4QR
Carried Out On | 15/03/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly PPM

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
SECTION 3: Report
Carried out 6 monthly PPM check 3 x Remeha Quinta 115 boilers. 1= operational 2= operational 3= operational 2 x Hamworthy power stock calorifiers 1= operational 2= operational 1 x flamco pressurisation unit = operational 1 x gas interlock = operational 1 x co and gas sensors = operational 3 x Schneider actuators 1= operational 2= operational 3= operational 3 x 3 port valves 1= operational 2= operational 3= operational Flue condensate pipe leaking Lagging = ok 2 x biral de strat pumps 1= operational 0.3 amps 2= operational 0.3 amps 1 x grundfos alpha 15-50 secondary return pump = operational 32 watts 2 x grundfos magna 3d 40-100 primary pumps 1= operational 1.1 amps 2= operational 1.1 amps 2 x grundfos magna 3d 40-120 vt pumps 1= operational 0.9 amps 2= operational 0.9 amps 4 x DHWS expansion vessels 1= operational 3.5 bar 2= operational 3.5 bar 3= operational 3.5 bar 4= operational 3.5 bar 2 x LTHW expansion vessels 1= operational 2.5 bar 2= operational 2.0 bar Water PH8.3@21 degrees

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28737
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes