## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Ivy Place
Tantobie
Stanley
DH9 9PT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-28828
DATE OF REPORT: 15/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Ivy Place
Tantobie
Stanley
DH9 9PT
Carried Out On | 05/06/2023, 15/02/2024
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal Condensate Termination - External Rear, appears snapped an missing. Prv Termination - Rear of property Radiators within the property inc valves - 6 Rads, 10mm pipework, 15mm Valves. Fuse Board - Insude above Kitchen internal Door. Gas Meter - Lounge Cupboard. Stop Tap - Not visible, possibly behind Kitchen cupboards. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Landing May-31 Downstairs Smoke Alarm Location & Date - Lounge Aug-34, Hallway May-31. Heat Alarm Location & Date - Kitchen May-34. Co Alarm Location & Date - Rear Bedroom Boiler Cuoboard Feb-32 Boiler to be removed - Vaillant EcoTec Pro 82 Boiler Serial number - 21234700100218371300389649N2 Job Type –boiler replacement - Combi Boiler location - Rear Bedroom Cupboard. Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No, ladder only. Flue guard needed - No Standoff kit required - No Gas meter internal / external – External in lounge cupboard. Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - No. If no what needs to be amended to bring it up to regs ? Renewing into external stack or Bathroom waste in adjacent room. Is the condensate currently through the wall in 19 or 32mm ? 21.5mm Number of radiators at the property - 8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Valves, 10mm pipework Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – None, Gas line in kitchen capped off. Current Fire Type – None

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes