## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Burn Park Road
Houghton Le Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-28951
DATE OF REPORT: 15/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade
Burn Park Road
Houghton Le Spring
DH4 5EJ
Carried Out On | 15/03/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Leak from 15 into boiler cupboard - The access code for Burn Promenade is 1963 and the key safe number for boiler room is 5790. Top key safe outside office has boiler room key. To access boiler room best to exit fire exit at bottom of stairs after attending to number 15. Standard Callout for Commerical Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
SECTION 3: Report
PN 15/03/23 Stop cock leaking from gland Gland would no tighten as full of lime scale Cold water off at flat tenant has heating and hot water Photos sent to admin Contact Wincey chan

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28951
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes