## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
192 Wakefield Road
Denby Dale
Huddersfield
HD8 8SZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-28973
DATE OF REPORT: 19/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 192 Wakefield Road
Denby Dale
Huddersfield
HD8 8SZ
Carried Out On | 18/04/2023, 19/04/2023
Survey Completed By | Steven Grunshaw
SECTION 2: Introduction
Combi Install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
SECTION 3: Report
Carried out boiler conversion. Removed system boiler, cylinder, tanks and associated pipework. Installed combi boiler. Upgraded gas pipework all the way to the meter from 15mm to 22mm. Installed new radiator valves. During commissioning a old fitting failed on the hot water pipe causing a minor leak. Replaced the fitting. Commissioned and tested.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes