## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 St Pauls Road
Hexham
Northumberland
NE46 2BD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-28975
DATE OF REPORT: 21/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 St Pauls Road
Hexham
Northumberland
NE46 2BD
Carried Out On | 21/03/2023
Survey Completed By | Andrew Harrison
SECTION 2: Introduction
Planned install for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
SECTION 3: Report
Boxing required - y Co alarm installed - n Follow on work required ( Please identify where applicable )gas meter had £124 in debit on meter tightness carried out boiler not commissioned Boiler pipe work is clipped under bench unable to get clips aboth worktop as stand stand of kit was used and there is a pipework was unable to get pipework back to wall because boiler is chances into wall

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-28975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes