## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
47 Macintosh court
Gilesgate
Durham
DH1 1PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-29055
DATE OF REPORT: 18/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 47 Macintosh court
Gilesgate
Durham
DH1 1PZ
Carried Out On | 18/03/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Inspect leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
SECTION 3: Report
When attending site noticed wet patches all over the kitchen and hallway floor. Checked the heat and pressure which was okay, leading me to think it could be a cold water pipe issue. Tenant says that this has been an ongoing issue for at least two months now somebody from DAMHA has been out and they have put leak sealant in the system, but this would not help as it is not the heating side. I have put below the best contact for the property. If someone could please get in touch Monday with Durham Ages Minors, so we can get the situation resolved. -Norman hunt (tenants son) 07975584287. Out for an hour and a half

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes