## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 St Johns Road
Hexham
Northumberland
NE46 2AT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-29124
DATE OF REPORT: 21/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 St Johns Road
Hexham
Northumberland
NE46 2AT
Carried Out On | 21/03/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -November 2029 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -na Co Alarm Location & Date -September 2032 Co Alarm Replaced - no Boiler to be removed -vaillant eco tec pro 28 Boiler Serial number – 210812308511<‹<<1300010642N4 Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE. Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external- external Condensate Condensate pump required – Yes/No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs brought out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -6 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type –Gas Current Fire Type – / Gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes