## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
St Cuthberts Close ( Communal Area )
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-29191
DATE OF REPORT: 22/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | St Cuthberts Close ( Communal Area )
Hexham
Northumberland
NE46 2HU
Carried Out On | 22/03/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler that serves communal areas has F28 fault - asap as cleaner has no hot water nor hot water to communal toilets. Tried calling it in but no answer. The boiler is a domestic valliant & is in the ground floor refuse store - 1st LHS corridor as you enter the block opposite cleaners cupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
SECTION 3: Report
Boiler was off on f28 fault. Checked pressure and reset. Waited for it to run for a while.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29191
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes