## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Millersfield Close
Acomb
Hexham
NE46 4SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-29393
DATE OF REPORT: 28/03/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Millersfield Close
Acomb
Hexham
NE46 4SB
Carried Out On | 28/03/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - November 2032 Downstairs Smoke Alarm Location & Date -November 2032 Heat Alarm Location & Date -na Co Alarm Location & Date -June 2029 Co Alarm Replaced - Yes/No. no Boiler to be removed -Worcester greenstar 30CDI system Tank is- Twin Coil 210 L Spec Label Boiler Serial number –03674 Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -system boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE. Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – Yes/No. no Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Runs internal Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -9 Size of pipework at radiators -10 Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type – Gas Current Fire Type – Electric / Gas. Na Job would be okay to convert, solar panels would need capped off/ removed. Hot and colds would be okay to pick up as there is a corner unit under the boiler to run hot and colds up through. Cylinder cupboard upstairs would also need capped off, cupboard is okay for space and tank wouldn’t be to hard to remove. If converting would need a stand off bracket.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes