## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Millersfield Close
Acomb
Hexham
NE46 4SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-29401
DATE OF REPORT: 15/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Millersfield Close
Acomb
Hexham
NE46 4SB
Carried Out On | 28/03/2023, 02/08/2023, 18/08/2023, 15/09/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -lan1231 Downstairs Smoke Alarm Location & Date -hall1231/ lounge1231/ Heat Alarm Location & Date -kitchen0132 Co Alarm Location & Date -kitchen0529 Co Alarm Replaced - Yes/No no Boiler to be removed -Worcester greenstar Boiler Serial number –04977 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler -system boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler - yes Flue type – horizontal If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no yes If no what needs to be amended to bring it up to regs ? None Is the condensate currently through the wall in 19 or 32mm ? Internal Number of radiators -10 Size of pipework at radiators -10mm Number of bathrooms -2 Electric shower -electric Any other means of heating -electric fire Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-29401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes