## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Renwick House ( Communal 6 & 7)
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30023
DATE OF REPORT: 12/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Renwick House ( Communal 6 & 7)
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 12/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Please investigate radiator not working in communal space

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 12/4/23 Works carried out - fixed leaking service valve underneath radiator. Dried and checked no more leaks. Also replaced 15mm trv in main entrance radiator due to been isolated as trv not shutting. Materials15mm trv Merchant location used - ashington Material Type and Quantity Used - centre brand x1 Reference Number Used in branch -23-30023 Van stock items n/a Type of item - 15mm trv Quantity of item -1 FoW n/a Follow on works required ( Y/N ) Materials required for FoW - Fabrics / Patching Required -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes