## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Auden House
St Anns Court
YO10 5FD
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 23-30039
DATE OF REPORT: 14/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Communal Area
Auden House
St Anns Court
YO10 5FD
Carried Out On | 14/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Thermostat not conecting with Boiler all Areas very hot and unable to turn down

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 14/4/23 Works carried out - checked underfloor heating once found which valve was which checked room thermostat had live but wasn’t clicking in or out. Replaced with new room thermostat. Then checked was linked up correctly turning on and off when asked. Materials danfoss 5/2 day wired thermostat Merchant location used - plum base York Material Type and Quantity Used - danfoss tp5001b Reference Number Used in branch -20-30039 Van stock items n/a Type of item - Quantity of item - FoW N Follow on works required ( Y/N ) Materials required for FoW - Fabrics / Patching Required - n/a

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes