## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Towneley Court ( Flat 27 )
Stanley
Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30051
DATE OF REPORT: 13/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Towneley Court ( Flat 27 )
Stanley
Durham
DH9 7NL
Carried Out On | 13/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
radiator in sitting room not working main pipe to radiator is hot but radiator itself not hot checked to make sure radiator was on at the valve but not heating up.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 13/4/23 Works carried out - unblocked air vent with needle as blocked solid. Bleed radiator. Open lock shield a touch as was almost fully closed. Radiator heating up and working. Materials n/a Merchant location used - Material Type and Quantity Used - Reference Number Used in branch - Van stock items Type of item - Quantity of item - FoW n/a Follow on works required ( Y/N ) N Materials required for FoW - Fabrics / Patching Required -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes