## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Matfen Court ( Flat 11A )
Chester Le Street
Durham
DH2 2TX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30053
DATE OF REPORT: 13/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Matfen Court ( Flat 11A )
Chester Le Street
Durham
DH2 2TX
Carried Out On | 13/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
no heating at all in the property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 13/4/23 Works carried out - check all valves for flow. Once checking noticed a lot of air in pipe work to valves. Bleed air out of all valves till heat started flowing into radiators. 3x radiators bleed where hall bathroom living room Materials N/a Merchant location used - n/a Material Type and Quantity Used - Reference Number Used in branch - Van stock items Type of item - Quantity of item - FoW n/a Follow on works required ( Y/N ) N Materials required for FoW - Fabrics / Patching Required -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes