## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House ( Communal Area / Plant Room )
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30074
DATE OF REPORT: 09/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House ( Communal Area / Plant Room )
Durham Road
Lanchester
DH7 0LS
Carried Out On | 13/04/2023, 09/05/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
install external tap liaise with warden on site if present for location.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
SECTION 3: Report
ct 13/4/23 Coordinated with warden to where and where was best to put. Went with opposite kitchen sink under window. Requires Sds drill to drill through brick / stone wall. FoW required as no sds drill available Parts required 15mm copper pipe. Outside tap and fixings. Some 15mm 90s and 15mm connex T to connect into pipe work. Ct 9/5/23 Fitted outside tape by connecting into cold mains under kitchen sink. And lagged small amount of copper pipe on show Materials Wolsey ashington reference 23-30074 1 x tap with wingback fitted. 3m 15mmcopper. 3 m 15mm laggin 3 x 15 mm connex t grey tape. Materials used from van 1x 90 15mm crimp.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes