## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 15 )
Commercial Road
South Shields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30079
DATE OF REPORT: 13/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 15 )
Commercial Road
South Shields
NE33 1UE
Carried Out On | 13/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
2 Thermostats - one for the heating and one for the hot water. The hot water is scalding hot and Mr Curran is concerned about being scalded. Re-occurring issue with thermostat.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
SECTION 3: Report
ct 13/4/23 On arrival tenant has said someone has already been and said motorised valve was faulty. So had disconnected and left on bottom. I checked it was opening and closing fine when turning on and off tap. However the water was very hot. I then checked settings of hw temperature which where on max I reduced to 7 from 10 and got tenant to check if he was happy with this to which he was. No parts required. Tenant mentioned who ever was there last had also raised a job for wires to be put back into pcb housing so left as they were. FoW n

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes