## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Blackfriars Way
Longbenton
Newcaste Upon Tyne
NE12 8NG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30183
DATE OF REPORT: 17/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Blackfriars Way
Longbenton
Newcaste Upon Tyne
NE12 8NG
Carried Out On | 14/04/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Boiler Repair

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
SECTION 3: Report
PN 14/04/23 Boiler showing F22 F&E system checked tank in loft checked gate valves tenant also stated cooker wasn’t working checked burners only one lit as soon as second burner lit flame dropped out Pressure at meter was 24mb Tightness test was ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes