## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Cherry Tree Mews
Wallsend
Tyne and Wear
NE28 9EL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30463
DATE OF REPORT: 26/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Cherry Tree Mews
Wallsend
Tyne and Wear
NE28 9EL
Carried Out On | 24/04/2023
Survey Completed By | Jonathan Denver Golightly
SECTION 2: Introduction
Repair flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
SECTION 3: Report
Boxing required - yes Co alarm installed - no existing Follow on work required ( Please identify where applicable ) - box flue Lower flue in boxing

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes