## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Southgate court
Longbenton
Newcastle upon Tyne
Ne12 8uw
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-30511
DATE OF REPORT: 22/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 3 Southgate court
Longbenton
Newcastle upon Tyne
Ne12 8uw
Carried Out On | 22/04/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
SECTION 3: Report
PN 22/4/23 Low pressure alarm on pressurisation unit Topped pressure up reset unit Heating and hot water working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes