## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 phoenix rise
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-30515
DATE OF REPORT: 23/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 27 phoenix rise
NE29 8SQ
Carried Out On | 23/04/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Underfloor heating not working

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
SECTION 3: Report
PN 23/4/23 Did not have the right door number checked the flats that I was given both heating was working Checked plant room fault on pumps no 2 reset pumps no nee faults showing on panel

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30515
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes