## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Chareway
Hexham
Northumberland
NE46 3EZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30564
DATE OF REPORT: 25/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Chareway
Hexham
Northumberland
NE46 3EZ
Carried Out On | 25/04/2023
Survey Completed By | Andrew Harrison
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -na Downstairs Smoke Alarm Location & Date -oct29 Heat Alarm Location & Date -na Co Alarm Location & Date -kitchen exp Nov33 Co Alarm Replaced - Yes/No no Boiler to be removed - vaillant ecotec Boiler Serial number –210731308520 Job Type – Conversion / boiler replacement / full heating - replacement Combi / heat only / system boiler - combi Boiler location - kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE horizontal 3 extention pair 45 Any access requirements to access flue - flue in boxing running horizontal Flue guard needed -no Standoff kit required -yes Gas meter internal / external – internal Condensate upgraded 1 1/4 external Condensate pump required – Yes/No yes Condensate current termination acceptable yes or no - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 32mm Number of radiators - 4 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower - yes Any other means of heating - no Current Cooker Type – Electric / Gas gas cooker Current Fire Type – Electric / Gas no fire

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30564
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes