## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30627
DATE OF REPORT: 16/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 15/11/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Annual Gas Safety Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
SECTION 3: Report
Carried out the annual gas safety cp15 to 3 x potterton sirius 3 boilers and 1 x Andrews water heater. Upon arrival found 2 x boilers off 2 were found back filled with water in the heat exchanger and boiler 1 were controls weren’t connected and boiler to had water in the fan this was dried out and got working but the gas valve has gone faulty also needs new ionisation probe spark electrode seals and insulation to front heat exchanger door. Part numbers have been taken for these

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30627
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes