## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Springfield Road
Hexham
Northumberland
NE46 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30794
DATE OF REPORT: 28/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 17 Springfield Road
Hexham
Northumberland
NE46 1EA
Carried Out On | 28/04/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -salan0231 Downstairs Smoke Alarm Location & Date -saHall0231/lsalounge0231 Heat Alarm Location & Date -hakit0331 Co Alarm Location & Date -cokit0833 Co Alarm Replaced - Yes/No no Boiler to be removed - yes Boiler Serial number –AWA094310718HC Job Type – Conversion / boiler replacement / full heating -BOILER REPLACEMENT Combi / heat only / system boiler -COMBI Boiler location -KITCHEN Is 22mm gas pipe visible at boiler -YES Flue type – HORIZONTAL If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -NO Flue guard needed -NO Standoff kit required -NO Gas meter internal / external –INTERNAL Condensate Condensate pump required – Yes/No NO Condensate current termination acceptable yes or no -YES If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ?32 Number of radiators -7 Size of pipework at radiators -15 Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas no fire

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes