## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Alexandra & Mowbray House
Rawdon Road
Sunderland
SR5 5PN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-30855
DATE OF REPORT: 16/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Alexandra & Mowbray House
Rawdon Road
Sunderland
SR5 5PN
Carried Out On | 02/05/2023, 13/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Has been reported before and not rectified now heating is stuck on full in 2 rooms causing discomfort to vulnerable tenants one of whom has been in hospital due to running a high temperature.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 2/5/23 Works carried out - freeded 3 way valve in loft as was stuck. Tested opening and closing manually and with controls. Materials N/a Merchant location used - Material Type and Quantity Used - Reference Number Used in branch - Van stock items N/a Type of item - Quantity of item - FoW Follow on works required ( Y/N ) Y Materials required for FoW - 4x lst Myson trv valve Fabrics / Patching Required - JB attended for FOW works replaced 4x myson trv heads and 1x actuator and head all ok now

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-30855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes