## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Auden House ( Guest Room )
St Ann's Court
York
YO10 5FD
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 23-31178
DATE OF REPORT: 18/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Auden House ( Guest Room )
St Ann's Court
York
YO10 5FD
Carried Out On | 11/05/2023, 16/04/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Single guest room theromstat not working, room is reading 30 degrees

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
SECTION 3: Report
16/04/24 GP Found that the bedroom/ bathroom has no control ie room thermostat connected to manifold actuators and programmable stat only opens and shuts zone valve. So have recommended fitting 2 new actuators to be tied in to programmable stat so the heat is continuously on. I have isolated the manual shut off valves on the manifold Site audit report issued for quote

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes