## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carlton Court
Scorer Street
North Shields
NE29 0LB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-31370
DATE OF REPORT: 16/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carlton Court
Scorer Street
North Shields
NE29 0LB
Carried Out On | 15/05/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check / 6 Monthly Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
SECTION 3: Report
3 x Hamworthy fleet f125v. 1= operational 2= operational 3= operational 2 x Hamworthy powerstock calorifiers. 1= operational 2= operational 1 x Hamworthy pressurisation unit. = operational 1 x heating expansion vessel = operational charged to 1.7 bar 2 x DHW expansion vessels = operational charged to 3.5 bar Lagging = good Gauges= operational Valves = operational Sensors unknown as HMI not working All condensate pipe work leaking Lab water test taken awaiting test results No sludge on draining of expansion vessel 3 x actuators = operational 3 x 3 ports = operational Leak limit on pressurisation unit is reading 000.7 1 x Grundfos magna 3 25-60 secondary return pump = operational 0.2 amps 2 x Grundfos magna 3 40-150 PRIMARY PUMPS. 1= operational 0.7amps. 2= operational 0.2 amps 2 Grundfos magna 3 50-180 VT PUMPS. 1=operational 0.2 amps. 2= operational 0.2 amps Fernox water quality test kit used from vehicle stock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes