## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Clavering Street
Willington Quay
NE28 6SW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-31436
DATE OF REPORT: 01/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eldon Court
Clavering Street
Willington Quay
NE28 6SW
Carried Out On | 17/05/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical / 6 Monthly Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
SECTION 3: Report
3 x Hamworthy fleet f50v boilers 1=operational 2= operational 3= operational 2 x lochinvar SHW46-325 water heaters 1=operational 2= operational 2 x wilo pressurisation units 1= operational 2= operational 2 x CH expansion vessels 1= operational 1.5 bar 2= operational 2 bar Condensate pipe work = no leaks Flues = operational and good condition 2 x DHW expansion vessels 1= operational 3.5 2= operational 3.5 Valves = operational Lagging = good HMI not working 1 x 3 port actuator = operational 1 x 3 port valve = operational Interlock = operational PRV,S = operational Gauges = operational Laboratory water test sample taken 1 x grundfos TPE2 49-240 ASHP PRIMARY 1= operational 0.3 amps 2= operational but faulty sensor 0.3 amps 1 x grundfos magna 3d 32-100 ASHP SECONDARY 1= operational 0.2 amps 2= in operational 1 x grundfos magna 3d VT PUMP 1= operational 0.9 2= 0.2 1 x grundfos secondary return pump = operational 0.2 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes