## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Sussex Road
Consett
County Durham
DH8 8HS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-31537
DATE OF REPORT: 19/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Sussex Road
Consett
County Durham
DH8 8HS
Carried Out On | 19/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Reactive survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -nov 2029 Downstairs Smoke Alarm Location & Date -nov 2029 Heat Alarm Location & Date -na Co Alarm Location & Date - Co Alarm Replaced - Yes/No Boiler to be removed -back boiler Boiler Serial number –na Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -living room. New boiler position upstairs bedroom Is 22mm gas pipe visible at boiler -no Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE. Horizontal Any access requirements to access flue -ladders for second floor flue Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes Condensate current termination acceptable yes or no -na If no what needs to be amended to bring it up to regs ? Na Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -6 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -yea Any other means of heating -no Current Cooker Type –voild Current Fire Type – void Room sizes- ceiling height throughout is 2.5m Living room- 4.59 x 3.3 Rad in now- 400x1959 D Max height- 400 Max length 2000 Floor- concrete Hallway- 1.3 x 2.3 Rad in now- 520x520 DPX Max height- NA Max length 1000 Kitchen- 3.7x2.3 Rad in now- 720x520 DPX Max height- NA Max length- 1000 Bed 1- 4.75 x 2.77 Rad in now- 1150 x 500 s Max height- 1000 Max length- na Bed 2- 3 x 3.3 Rad in now- 1350 x 500 s Max height- 1000 Max length- 1600 Bathroom- 2.28 x 2.4 Rad in now- 530 x 530 dpx Max height- na Max length- 650 Hallway downstairs by back door-1.2 x 1.5 Rad in now- no rad in Max height- na Max length- 550

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes