## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 St. Edmunds Court
Gateshead
NE8 3PF
CARRIED OUT ON BEHALF OF
Zenith Mechanical Services
REPORT NUMBER: 23-31576
DATE OF REPORT: 24/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Zenith Mechanical Services
Address | Office 82
Viewpoint Business Centre
Consett
DH8 6BN
Site Address | 22 St. Edmunds Court
Gateshead
NE8 3PF
Carried Out On | 24/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -jam 2033 Downstairs Smoke Alarm Location & Date -august 2022 Heat Alarm Location & Date -na Co Alarm Location & Date -unable to see date Co Alarm Replaced - No Boiler to be removed -potterton promax Boiler Serial number –AWA104210105KC Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -garage Is 22mm gas pipe visible at boiler -yes Flue type – horizontal Any access requirements to access flue -no Flue guard needed -yes Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs brought out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -12 11 sets of valves to be changed Size of pipework at radiators -10mm Number of bathrooms - 2 bathrooms and toilet Electric shower -no Any other means of heating -no Current Cooker Type – Gas. (HOB) Current Fire Type – na 4 bedroom so will need a bigger kw boiler

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes