## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Kingston Road
Gateshead
NE8 3UH
CARRIED OUT ON BEHALF OF
Zenith Mechanical Services
REPORT NUMBER: 23-31577
DATE OF REPORT: 22/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Zenith Mechanical Services
Address | Office 82
Viewpoint Business Centre
Consett
DH8 6BN
Site Address | 30 Kingston Road
Gateshead
NE8 3UH
Carried Out On | 22/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -nov 2028 Downstairs Smoke Alarm Location & Date -nov 2028 Heat Alarm Location & Date -na Co Alarm Location & Date -december 2031 Co Alarm Replaced - NO Boiler to be removed -potterton promax He plus Boiler Serial number –na Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – horzontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking though wall in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating - Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31577
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes