## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 Brendale Avenue
Newcastle upon Tyne
NE5 5NQ
CARRIED OUT ON BEHALF OF
Jim Hastings Limited
REPORT NUMBER: 23-31694
DATE OF REPORT: 24/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Jim Hastings Limited
Address | Seghill Industrial Estate
Seghill
Cramlington
Northumberland
NE23 7DR
Site Address | 34 Brendale Avenue
Newcastle upon Tyne
NE5 5NQ
Carried Out On | 24/05/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Ivestigate noise coming from boiler, specifically around the condensate run and termination

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
SECTION 3: Report
PN 24-03-23 Condensate pump was constantly running as was not level Levelled pump and poured water into condensate pump now working properly

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31694
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes