## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court
Lobley Hill
Gateshead
NE11 0AW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-31749
DATE OF REPORT: 01/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Cragside Court
Lobley Hill
Gateshead
NE11 0AW
Carried Out On | 24/05/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly / Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
SECTION 3: Report
2 x vaillant vu806/5-5 boilers 1= operational 2= operational 1 x plate heat exchanger = operational 2 x jet pressurisation units 1= operational 2= operational Valves = operational Sensors= operational Interlock = operational Flues = operational and good Lagging = average Leak on xpot flow valve 3 x LPHW expansion vessels 1= operational 1.7 bar 2= operational 1.7 bar 3 = operational 1.7 bar 2 x DHWS expansion vessels 1= operational 3.5 bar 2= operational 3.5 bar 2 x lochinvar ECH 33-370 gas fired water heaters 1= operational 2= operational Water temperature 47 degrees on initial drain of expansion vessels and clear 1 x wilo stratos -z30/1-12 hot water secondary pump = operational 0.3 amps 1 x wilo stratos d50/1-12 vt pumps 1= operational 0.4 amps 2= operational 0.4 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes