## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
84 Lisle Road
South Shields
NE34 6DJ
CARRIED OUT ON BEHALF OF
Zenith Mechanical Services
REPORT NUMBER: 23-31827
DATE OF REPORT: 25/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Zenith Mechanical Services
Address | Office 82
Viewpoint Business Centre
Consett
DH8 6BN
Site Address | 84 Lisle Road
South Shields
NE34 6DJ
Carried Out On | 25/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -may 2029 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -march 2029 Co Alarm Location & Date -march 2028 Co Alarm Replaced - No Boiler to be removed -potterton promax combi he plus Boiler Serial number – AWA081110288BC Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type –horizontal Any access requirements to access flue -boiler is second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Brought through wall in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Valves to be changed Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Gas Current Fire Type – Electric Soak away required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31827
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes