## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-31836
DATE OF REPORT: 26/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
Carried Out On | 25/05/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check / 6 Monthly PPM

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
SECTION 3: Report
Carried out 6monthly ppm 3x Hamworthy fleet f85v boilers 1= operational 2= operational 3= operational 2 x lochinvar SHW61-325 water heaters 1= operational 2= operational Lagging = average Flues = average 2 x wilo comfort pressurisation units 1= operational 2= ASHP unit turned off as issue with expansion vessel. When I arrived on site this was turned off 1 x LTHW expansion vessel = operational and charged to 2 bar 1 x ASHP expansion vessel = faulty. Had to isolate ASHP system as pressure was causing fluctuations in fault system of pressurisation unit 2 x 3 port valves 1= isolated previously due to causing suction on LLH 2= operational 2 x actuators 1= operational 2= operational Valves = operational Heating mechanical filling loop was connected and opened on inlet and outlet. This has now been disconnected 1 x Grundfos ups 15-50 secondary hot water return pump = operational 0.2 amps 2 x Grundfos magna 3d 64-150 VT zone 1 pump 1= operational 3.2 amps 2= operational 3.2 amp’s 2 x Grundfos magna 3d 40-100 VT zone 2 pump 1= operational 1 amp 2= operational 1 amp Required is a 25 litre LTHW expansion vessel and a 22mm lockshield valve. These will require a drain down approximately 2hrs

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes