## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Wolsingham Terrace
Stanley
Country Durham
DH9 8QJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-31848
DATE OF REPORT: 25/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 17 Wolsingham Terrace
Stanley
Country Durham
DH9 8QJ
Carried Out On | 25/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -08/2033 Downstairs Smoke Alarm Location & Date -08/2033 Heat Alarm Location & Date - 08/3033 Co Alarm Location & Date -unable to see date Co Alarm Replaced - No Boiler to be removed -na Boiler Serial number –na Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -fire place Is 22mm gas pipe visible at boiler -no gas meter in pipe is there but capped Flue type –na Any access requirements to access flue -no Flue guard needed -horizontal for new boiler Standoff kit required -yes for new boiler Gas meter internal / external –external no gas meter in Condensate Condensate pump required – Yes/No Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Na Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -yes Any other means of heating -fire Current Cooker Type – Electric Current Fire Type – solid fuel Celling bight 2.5m throughout Kitchen- 5.5 x 3 Radiator in currently- 500 x 1750 double Can’t be any bigger than 1750 Max night na Living room- 4.7 x 3.6 Size currently-1750 x 500 double Windowsill height- 850 No restrictions on height Hallway- 1.8 x 1.1 Current size rad- 550 x 920 double 900 max length Is no max height Bathroom- 1.7 x 2.4 Current rad- 540 x 540 single Max length 650 Is no max height Bed 1- 3.2 x 2.9 Current rad- 520 x 1700 single Windowsill height- 1100 No max length Bed 2- 3.7 x 3.2 Current rad size- 1800 x 520 single Windows height- 800 No max length. Bed 3- 2.8 x 2.4 Current radiator- 1100 x 520 single Windowsill height 800 Max length 1000 New boiler position will be best in kitchen, can take hot and colds down there. Pipework will have to be on droppers as there is Lino and laminate downstairs. Pipes can be fed downstairs ceiling to boiler with stand off bracket.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes