## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Hustledown Gardens
Stanley
County Durham
DH9 7NA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-31854
DATE OF REPORT: 25/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Hustledown Gardens
Stanley
County Durham
DH9 7NA
Carried Out On | 25/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Reactive survery for reactive boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -march 2031 Downstairs Smoke Alarm Location & Date -march 2031 Heat Alarm Location & Date -feb 2032 Co Alarm Location & Date -march 2025 Co Alarm Replaced - No Boiler to be removed -vaillant eco tec pro 28 Boiler Serial number – 211002308511<1300005802N1 Job Type – Conversion / boiler replacement / full heating - Combi / heat only / system boiler -boiler swap combi Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type – vertical, 3 extensions pair of 45s Any access requirements to access flue -roofer Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -internal If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators - 10mm Number of bathrooms -1 Electric shower -no Any other means of heating - Current Cooker Type – Gas Hob Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31854
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes