## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
85 Weakland Crescent
Sheffield
S12 4PF
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-31904
DATE OF REPORT: 30/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 85 Weakland Crescent
Sheffield
S12 4PF
Carried Out On | 30/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -unable to see Downstairs Smoke Alarm Location & Date -may 2032 Heat Alarm Location & Date -2026 Co Alarm Location & Date -unable to see Co Alarm Replaced - No Boiler to be removed -potterton promax system HE plus Boiler Serial number – DRY081445741BB Job Type – Conversion / boiler replacement / full heating - conversion Combi / heat only / system boiler -system boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -na If no what needs to be amended to bring it up to regs ? There is a drain outside under boiler which would be ideal for new condensate Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -9 Size of pipework at radiators - Number of bathrooms -1 and toilet Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – na Current boiler position in kitchen will be okay as we will be able to take the hot and colds from kitchen sink which is about 1m away.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes