## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
115 Weakland Crescent
Sheffield
S12 4PF
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-31910
DATE OF REPORT: 30/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 115 Weakland Crescent
Sheffield
S12 4PF
Carried Out On | 30/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -feb 2031 Downstairs Smoke Alarm Location & Date -feb 2031 Heat Alarm Location & Date -Jan 2031 Co Alarm Location & Date -unable To see date Co Alarm Replaced - No Boiler to be removed -potterton pro max system HE Boiler Serial number – DRY081740271BB Job Type – Conversion / boiler replacement / full heating -conversion Combi / heat only / system boiler -system boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler -unable to see Flue type – Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external – external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -na If no what needs to be amended to bring it up to regs ? Condensate will be best to run internal into kitchen sink so condensate clamp will be required. Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -9 Size of pipework at radiators -10mm Number of bathrooms -1 and downstairs toilet Electric shower -yes Any other means of heating -no Current Cooker Type – Gas Current Fire Type – na Current boiler position is best for the job. Hot and colds to be taken from under kitchen sink.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes