## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Wordsworth Gardens
Dipton
Stanley
DH9 9LQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-31915
DATE OF REPORT: 27/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Wordsworth Gardens
Dipton
Stanley
DH9 9LQ
Carried Out On | 27/05/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive install for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
SECTION 3: Report
PN 27/05/23 Boiler installed Boxing required - n Co alarm installed - already have one Follow on work required ( Please identify where applicable ) - thermostat needs wiring

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31915
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes