## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
117 Weakland Crescent
Sheffield
S12 4PF
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-31953
DATE OF REPORT: 17/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 117 Weakland Crescent
Sheffield
S12 4PF
Carried Out On | 16/08/2023
Survey Completed By | Thomas Robinson
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - yes Downstairs Smoke Alarm Location & Date -yes Heat Alarm Location & Date -yes Co Alarm Location & Date -yes Co Alarm Replaced -No Boiler to be removed -potterton 15kw system boiler Boiler Serial number – Job Type – Conversion / boiler replacement / full heating - Combi / heat only / system boiler - system boiler swap Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE horizontal flue! Any access requirements to access flue - Flue guard needed -no Standoff kit required - no Gas meter internal / external –external front of property Condensate internally Condensate pump required – No Condensate current termination acceptable -yes Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -10mm Number of bathrooms -2 Electric shower -no Any other means of heating - Current Cooker Type – Electric Current Fire Type – Electric / Gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-31953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes